## Sheet1
fan1
model | refrigerant |  | capacity |  | room_temp |  | evaporation_temp |  | superheating |  | condensation_temp |  | suction_gas_temp |  | subcooling |  | surface |  | tube_volume |  | fin_pitch |  | test_pressure |  | air_flow |  | air_throw_approx |  | fan_diameter |  | number_of_fan |  | voltage |  | fan_speed |  | power |  | current |  | noise_level_3m |  | material |  | inlet_connection |  | outlet_connection |  | dry_weight |  | L |  | E1 |  | H |  | W |  | B |  | image1 |  | image2 |  | electric_defrost_for_coil |  | electric_defrost_for_tray |  | total |  | drainage |  | price
| value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit | value | unit
KA-4001-7EB | 1 |  | 1 | KW | 10 | C | 0 | C | 5 | K | 45 | C | 20 | C | 0 | K | 13 | m2 | 4.2 | L | 7 | mm | 30 | Bar | 3320 | m3/h | 9 | m | 400 | mm | 1 |  | 220V/1PH |  | 1430 | rpm | 160 | W | 0.7 | Amp | 77 | dBA | Tube Material | rpm | 2024-01-02 | inch | 1-1/8 | inch | 37 | kg | 1024 | mm | 779 | mm | 532 | mm | 346 | mm | 412 | mm |  |  |  |  | 3x690 | W | 1X690 | W | 2760 | W | G 1 |  | 27000 | bath
KA-4001-7EB | 1 |  | 1 | KW | 10 | C | 0 | C | 5 | K | 45 | C | 20 | C | 0 | K | 13 | m2 | 4.2 | L | 7 | mm | 30 | Bar | 3320 | m3/h | 9 | m | 400 | mm | 1 |  | 220V/1PH |  | 1430 | rpm | 160 | W | 0.7 | Amp | 77 | dBA | Tube Material | rpm | 2024-01-02 | inch | 1-1/8 | inch | 37 | kg | 1024 | mm | 779 | mm | 532 | mm | 346 | mm | 412 | mm |  |  |  |  | 3x690 | W | 1X690 | W | 2760 | W | G 1 |  | 27000 | bath
KA-4001-7EB | 1 |  | 1 | KW | 10 | C | 0 | C | 5 | K | 45 | C | 20 | C | 0 | K | 13 | m2 | 4.2 | L | 7 | mm | 30 | Bar | 3320 | m3/h | 9 | m | 400 | mm | 1 |  | 220V/1PH |  | 1430 | rpm | 160 | W | 0.7 | Amp | 77 | dBA | Tube Material | rpm | 2024-01-02 | inch | 1-1/8 | inch | 37 | kg | 1024 | mm | 779 | mm | 532 | mm | 346 | mm | 412 | mm |  |  |  |  | 3x690 | W | 1X690 | W | 2760 | W | G 1 |  | 27000 | bath
Fin Material
Casing Material
Copper
Aluminum
Powder-coated